## Tabelle1
Fronius 1.xx |  |  | Fronius 2.xx
info |  |  | info
CO2Faktor
CO2Unit
CashCurrency
CashFaktor
DefaultLanguage
DeliveryFaktor
HWVersion
PlatformID
ProductID
SWVersion
TimezoneLocation
TimezoneName
UTCOffset
UniqueID
| connection |  |  | connection
| lastsync |  |  | lastsync
| lastsyncarchive |  |  | lastsyncarchive
inverter |  |  | inverter
1 |  |  | 1
|  |  |  | DeviceStatus | ErrorCode
InverterErrorState
InverterState
LEDColor
LEDState
MgmtTimerRemaningTime
StateTo Reset
StatusCode
| Current_DC_String_1 |  |  | Current_DC_String_1
CustomeName
| Day_Energy |  |  | Day_Energy
DeviceStatus
Day_PMAX
DAY_UACMAX
DAY_UDCMAX
DT
E_Day
E_Total
E_Year
| ErrorCode |  |  | ErrorCode
ErrorCodeString
| FAC |  |  | FAC
| IAC |  |  | IAC
IAC_L1
IAC_L2
IAC_L3
| IDC |  |  | IDC
P
| PAC |  |  | PAC
PDC
PVPower
| Power_DC_String_1 |  |  | Power_DC_String_1
Show
| StatusCode |  |  | StatusCode
StatusCodeString
| TOTAL_ENERGY |  |  | TOTAL_ENERGY
TOTAL_PMAX
TOTAL_UACMAX
TOTAL_UDCMAX
| Temperature_Powerstage |  |  | Temperature_Powerstage
| UAC |  |  | UAC
UAC_L1
UAC_L2
UAC_L3
| UDC |  |  | UDC
UniqueID
| Voltage_DC_String_1 |  |  | Voltage_DC_String_1
| YEAR_ENERGY |  |  | YEAR_ENERGY
YEAR_PMAX
YEAR_UACMAX
YEAR_UDCMAX
inverterinfo
1
CustomName
DT
DTString
ErrorCode
PVPower
Show
StatusCode
UniqueID
meter |  |  | meter
1 |  |  | 1
Details
Manufacturer
Model
Serial
| Current_AC_Phase_1 |  |  | Current_AC_Phase_1
| Current_AC_Phase_2 |  |  | Current_AC_Phase_2
| Current_AC_Phase_3 |  |  | Current_AC_Phase_3
| Enable |  |  | Enable
| EnergyReactive_VarAC_Sum_Consumed |  |  | EnergyReactive_VarAC_Sum_Consumed
| EnergyReactive_VArAC_Sum_Produced |  |  | EnergyReactive_VArAC_Sum_Produced
| EnergyReal_WAC_Minus_Absolute |  |  | EnergyReal_WAC_Minus_Absolute
| EnergyReal_WAC_Plus_Absolute |  |  | EnergyReal_WAC_Plus_Absolute
| EnergyReal_WAC_Sum_Consumed |  |  | EnergyReal_WAC_Sum_Consumed
| EnergyReal_WAC_Sum_Produced |  |  | EnergyReal_WAC_Sum_Produced
| Frequency_Phase_Average |  |  | Frequency_Phase_Average
| Meter_Location_Current |  |  | Meter_Location_Current
Model
| PowerApparent_S_Phase_1 |  |  | PowerApparent_S_Phase_1
| PowerApparent_S_Phase_2 |  |  | PowerApparent_S_Phase_2
| PowerApparent_S_Phase_3 |  |  | PowerApparent_S_Phase_3
| PowerApparent_S_Sum |  |  | PowerApparent_S_Sum
| PowerFactor_Phase_1 |  |  | PowerFactor_Phase_1
| PowerFactor_Phase_2 |  |  | PowerFactor_Phase_2
| PowerFactor_Phase_3 |  |  | PowerFactor_Phase_3
| PowerFactor_Sum |  |  | PowerFactor_Sum
| PowerReactive_Q_Phase_1 |  |  | PowerReactive_Q_Phase_1
| PowerReactive_Q_Phase_2 |  |  | PowerReactive_Q_Phase_2
| PowerReactive_Q_Phase_3 |  |  | PowerReactive_Q_Phase_3
| PowerReactive_Q_Sum |  |  | PowerReactive_Q_Sum
| PowerReal_P_Phase_1 |  |  | PowerReal_P_Phase_1
| PowerReal_P_Phase_2 |  |  | PowerReal_P_Phase_2
| PowerReal_P_Phase_3 |  |  | PowerReal_P_Phase_3
| PowerReal_P_Sum |  |  | PowerReal_P_Sum
Serial
| TimeStamp |  |  | TimeStamp
| Visible |  |  | Visible
| Voltage_AC_PhaseToPhase_12 |  |  | Voltage_AC_PhaseToPhase_12
| Voltage_AC_PhaseToPhase_23 |  |  | Voltage_AC_PhaseToPhase_23
| Voltage_AC_PhaseToPhase_31 |  |  | Voltage_AC_PhaseToPhase_31
| Voltage_AC_Phase_1 |  |  | Voltage_AC_Phase_1
| Voltage_AC_Phase_2 |  |  | Voltage_AC_Phase_2
| Voltage_AC_Phase_3 |  |  | Voltage_AC_Phase_3
powerflow |  |  | site
inverter1
DT
DTString
E_Day
E_Total
E_Year
P
BackupMode
BatteryStandby
CO2Factor
CO2Unit
CashCurrency
CashFactor
DefaultLanguage
DeliveryFactor
| E_Day |  |  | E_Day
| E_Total |  |  | E_Total
| E_Year |  |  | E_Year
HWVersion
| Meter_Location |  |  | Meter_Location
| Mode |  |  | Mode
| P_Akku |  |  | P_Akku
| P_Grid |  |  | P_Grid
| P_Load |  |  | P_Load
| P_PV |  |  | P_PV
PlatformID
ProductID
SWVersion
TimezoneLocation
TimezoneName
UTCOffset
UniqueID
| rel_Autonomy |  |  | rel_Autonomy
| rel_SelfConsumption |  |  | rel_SelfConsumption